Three dimensional radiative transfer tomography for turbid media

W. Cai , M. Xu, and R. R. Alfano

Institute for Ultrafast Spectroscopy and Lasers

New York State Center of Advanced Technology for Ultrafast Photonic Materials and Applications

Department of Physics

The City College and Graduate Center of City University of New York

New York, NY 10031

Accepted by IEEE  special issue JSTQE (Laser in medicine and biology) #1277 (2003)

Abstract

The photon distribution, as a function of position, angle and time, is computed using the analytical cumulant solution of the Boltzmann radiative transfer equation (RTE). A linear forward model for light propagation in turbid media for three dimensional (3D) optical tomography is formed based on this solution. The model can be used with time resolved, CW, and frequency-domain measurements in parallel geometries. This cumulant forward model (CFM) is more accurate than that based on the diffusion approximation of RTE. An inverse algorithm that incorporates this CFM is developed, based on a fast 3D hybrid-dual-Fourier tomographic approach using multiple detectors and multiple sources in parallel geometries. The inverse algorithm can produce a 3D image of a turbid medium with more than 20,000 voxels in 1-2 minutes using a personal computer. A 3D image reconstructed from simulated data is presented.

Subject terms: photon migration; radiative transfer equation; forward model;

absorption and scattering; optical tomography; inverse algorithm.

- Introduction

Over the past decade, optical tomography has been investigated as a noninvasive imaging method that uses non-ionizing near-infrared (NIR) light to obtain images of the interior of the breast. Unlike X-ray, which is attenuated through media by ionizing the electrons at inner-orbits of atoms, NIR light uses the vibrational overtones for different molecular components in the structures of tumor. NIR light may be used to create image based on the molecular change, which may be used to improve sensitivity and specificity in the early diagnostics of breast cancer. Breast tissues scatter light strongly, and blur the direct shadow image of a tumor. A technique, known as inverse image reconstruction, has been investigated to overcome the problem of multiple scattering. Some obstacles in the development of optical tomography are inaccuracy of the commonly used diffusion forward model, and lack of a fast inverse algorithm able to realize a three dimensional (3D) image reconstruction of a breast for clinical use.

One critical issue is the forward model, which should correctly simulate photon propagation in the medium. The most commonly used forward models were built based on solution of the diffusion equation, which is the lowest approximation of the radiative transfer equation (RTE).[1-5] The forward models based on the diffusion approximation (DA) give a large error when the distance, d, between a voxel and a source is small. Furthermore, the photon distribution still maintains a strong anisotropy in a deeper region away from a source, which will be shown later in this paper. Unfortunately, contributions from near surface voxels to measured signals are often larger than contributions from the voxels deep inside the medium. Inaccuracy of DA based forward model may lead to a failure in image reconstruction, especially for small hidden objects deep inside the medium. The total weight matrix should be inverted. The large elements in the matrix, which play a more important role in inversion, are evaluated incorrectly in DA models. The shortcoming of DA is well recognized, but it is still broadly applied due to the difficulty in directly solving the radiative transfer equation. Hielscher et al [6] and Vihunen et al [7] developed numerical solutions of RTE for optical tomography.

Recently, we have developed an analytical solution of RTE, based on cumulant expansion, in an infinite uniform medium with an arbitrary phase function. [8,9] It provides an explicit analytical expression for photon distribution function I(r, s, t), as a function of position r, direction of light s, and time t. The mean position and the half-width at half maximum height (HWHM) of the distribution are always exact. In this paper, the linear forward model based on the cumulant solution is described. This CFM may used with time-resolved, CW, and frequency-domain data, which are much more accurate than the DA models.

To obtain a 3D image one needs to investigate the inverse algorithms. For clinical applications, this requires an inversion technique, that is computationally fast, and stable in the presence of measurement noise. Recent algorithms to solve the inverse problem include Newton’s least-square-based methods and gradient-descent methods.[1-5] These approaches use an iterative procedure, which requires a long computation time to solve a 3D inverse problem with large unknowns (the number of unknowns is the number of voxels). Furthermore, the iterative methods can not ensure that the result arrives at a “global minimum”, and does not converge to a “local minimum”, which is not a true image of the medium. The application of Fourier transform, which has been called ”diffraction tomography”, can greatly reduce computation time. Matson et al [10] and Li et al [11] have developed the diffraction optical tomographic methods to realize fast image reconstruction. However, their algorithms are limited to the use of a single light source with a 2D plane of detectors. This type of experimental setup acquires only a set of 2D data using CW or frequency-modulated light, that is not enough for a 3D image reconstruction. Recently, Schotland and Markel developed inverse inversion algorithms using diffusion tomography [12,13,14] based on the analytical form of the Green’s function of frequency-domain diffusive waves, and point-like absorbers and scatterers. Data obtained by multiple sources with multiple detectors in parallel slab geometry are used in these approaches.

A fast hybrid-dual-Fourier (HDF) algorithm, which uses multiple sources and multiple detectors in parallel slab geometry, is described in this paper for reconstruction of a 3D image of an inhomogeneous medium. This approach uses a general 2D translation invariance of the Green’s function in a homogeneous background slab medium, suitable for forward models based on solution of RTE, and various other forward models, in CW, frequency-domain, and time-resolved measurements. This inverse algorithm runs fast. It is shown that a 3D image of a turbid medium (for example, divided into 32x32x20=20480 voxels) can be reconstructed in 1-2 minutes using a personal computer. This algorithm can produce stable images in presence of relatively strong noises.

The forward model and the inverse algorithm discussed below can also be applied for image reconstruction in a cloudy environment for military use.

This paper is organized as follows: Section 2 presents the analytical solution of RTE, based on a cumulant expansion, in an infinite uniform medium and shows the photon distribution function computed using the cumulant analytical solution. Section 3 describes the forward models based on the analytical solution of RTE, considering the slab geometry, and a weak heterogeneity using a perturbative method. Section 4 describes the hybrid-dual-Fourier inverse algorithm for a reconstruction of a 3D image of an inhomogeneous medium. The 3D image using this algorithm is shown. A discussion is presented in Section 5.

2.   Analytical cumulant solution of RTE

The photon propagation in a medium is described by the photon distribution function, I(r, s, t), as a function of time t, position r, and direction s. The mathematical equation governing photon propagation is the well-known radiative transfer equation:

(1)

where the fundamental parameters are the scattering rate s(r) = cs, the absorption rate a(r) = ca, and the differential angular scattering rate s(r)P(s, s′, r), where a and s are the absorption and scattering cross sections respectively, is density of scatterers, and c is the speed of light in the medium. In a uniform infinite medium, these parameters are position independent.

When the phase function depends only on the scattering angle, we can expand the phase function in Legendre polynomials with constant coefficients,

.                                                               (2)

Recently, we have developed a new approach to obtain an analytical solution of RTE, based on a cumulant expansion, in an infinite uniform medium, with an arbitrary phase function P(s, s′ ). [8,9]

We briefly review the concept of “cumulant” in a 1D case. Consider a random variable x, with a probability distribution function f(x). Instead of using f(x) to describe the distribution, we define the nth moment of x, <xn>=, and correspondingly the nth cumulant <xn>c defined by .  The first cumulant <x>c  is the mean position of x. The second cumulant <x2>c represents the HWHM of the distribution. The higher cumulants are related to the detailed shape of the distribution. For example, <x3>c describes the skewness or asymmetry of the distribution, and <x4>c describes the “kurtosis” of the distribution, that is the extent to which it differs from the standard bell shape associated with the normal distribution function. The cumulants, hence, describe the distribution in an intrinsic way by subtracting off the effects of all lower order moments. In 3D case, the first cumulant has 3 components, the second cumulant has 6 components, and so on.

We derived an explicit algebraic expression of spatial cumulants at any angle and any time that is exact up to an arbitrarily high order n. [9] This means the distribution function I(r, s, t) can be computed to any desired accuracy. At the second order, n = 2, an analytic, hence, useful explicit expression for distribution function I(r, s, t) is obtained. [8] This distribution is Gaussian in position, which is accurate at later times, but only provides the exact mean position and the exact HWHM at early times. A weakness of the second order cumulant solution is that photons at the front edge of Gaussian distribution travel faster than light speed, thus violate causality, though to a much less extent than that in the diffusion approximation.

Fig.1 compares I(r, s, t) obtained from the analytical cumulant solution and the Monte Calro simulation. In order to reduce the statistical deviation to an acceptable level, 109 events are counted in the Monte Carlo simulation. The figure shows that the solid curve (the 10th order cumulant solution) is located in the middle of data obtained by the Monte Carlo simulation. The solution for CW case can be obtained by an integration of I(r, s, t) over time t. It is shown that even second order cumulant solution (the dotted curve) can provide an accurate CW solution, because this solution ensures that the mean position and the HWHM of distribution are always exact.

The plots in Fig. 1 indicates that a strong anisotropic angular distribution still exists at z ~ 6 ltr (ltr is the transport mean free path) from the source. The diffusion approximation is only valid when the angular distribution is nearly isotropic. The dominate s wave distribution N(r, t)/4 computed using the diffusion model (the thick dotted curve) has a large discrepancy with the Monte Carlo result.

The second order analytical cumulant solution is given by [8]

,                    (3)

where

.                          (4)

In Eq. (4), gl = s[1  al/(2l+1)],  Ylm(,)=(1)m[(lm)!/((l+m)!]1/2Pl(m)(cos)exp(im), where Pl(m)(cos) is the associated Legendre function, and Ylm (s) are spherical harmonics normalized to 4/ (2l+1).

In Eq. (3), the mean position of the distribution (first cumulant), when the source is located at r0 = 0 and the incident direction is along z, is given by:

,                         (5.1)

,                        (5.2)

where G = c exp (at)/F(s, s0, t),  Al = (1/4)exp(glt),  and

,					                  (6)

ryc is obtained by replacing cos in Eq. (5.2) by sin.

The HWHM (second cumulant) is expressed as

,					   (7)

with

,      (8.1)

,        (8.2)

where (+) corresponds to xx and () corresponds to yy.

,   (8.3)

(8.4)

yz is obtained by replacing cos in Eq. (8.4) by sin. In Eqs. (8.1- 8.4) El(1-4) are given by:

,                      (9.1)

,                       (9.2)

,	      (9.3)

.	      (9.4)

Figs. 2(a) and 2(b) show the light distribution as a function of time at different receiving angles in an infinite uniform medium, computed by the second cumulant solution, where detector is located, separately, at 5 ltr (Fig. 2a) and 15 ltr (Fig. 2b) from the source in the incident direction of the source. Fig. 2 shows the existence of the strong anisotropy of the light distribution at 5 ltr  from the source and the modest anisotropy at a distance of 15 ltr . These types of distributions have been demonstrated by time-resolved experiments. [15]

One advantage of using the above analytical solution of RTE is that the distribution function can be computed very fast. The associated Legendre functions can be accurately computed using recurrence relations. It takes only a minute to compute 105 data of I(r, s, t) on a personal computer.

The corresponding solution in the frequency-domain I(r, s, ) can be obtained by making a Fourier transform . The CW solution is obtained by taking = 0.

The photon density N(r, t) of the second cumulant solution is given by

,                    (10)

with  the mean position                 .                                                     (11)

The corresponding time-dependent diffusion coefficients are:

(12)

.                                    (13)

As shown in Eqs. (11) - (13), the mean position of the distribution is moving, and the diffusion coefficients are time dependent. At t → 0, the mean position of the photon density moves along z direction with speed c, and the diffusion coefficients tend to zero, this result presents a clear picture of near ballistic motion. As time increases, the mean position motion slows down, and the diffusion coefficients increase from zero. This stage of photon migration is often called a snakelike mode. At long time, Eq. (10) tends to the center-moved (1 ltr) diffusion model with the diffusion coefficient ltr/3.

3. Forward model based on the cumulant solution of RTE

The linear forward models for scattering media are built in following three steps: (1) computation of a background Green’s function in an infinite uniform medium; (2) extension of this Green’s function to slab geometry; and (3) computation of the weight function using a perturbative method. These steps have been applied in building the linear forward models under DA.[2]  We use these steps as well, but our approach is based on the cumulant solution of RTE, rather than the solution of the diffusion equation.

We use the second order cumulant solution for computing a background Green’s function in an infinite uniform medium, since it is easy to use the explicit expressions in Eq. (3) – Eq. (9), that avoid complicated computations of higher order cumulants. The second order cumulant solution is accurate at later times, but only provides the correct mean position and the correct HWHM at early times. We notice that the width of the distribution at early times could be smaller than the size of a voxel, the average over the distributions at different points in a voxel smears the detail shape of the distribution. In the CW or frequency-domain cases, the shape of the distribution is further smeared by integration over time t. Therefore the second order cumulant solution can be a reasonable approximation in building forward models based on the RTE.

Since a detector usually collects emergent light within a wide range of angle of different directions, it is convenient to compute the Green’s function related to a detector using photon density N(rd, t) [Eqs. (10)-(13)], where rd is the position of detector.

It is essential to include the boundary effect in the solution of the RTE when photons are injected into and spread out from a finite sized medium. A proper extension of the cumulant solution to slab geometry is an essential step for building a forward model.

A boundary condition is applied based on the following physical consideration. At early times, the center of photon distribution injected into medium, moves forward into medium. Then the distribution spreads out from the moving center with diffusion coefficients that gradually increase from zero. At early times, the number of photons leaking out of the boundary is negligible compared to the total number of the incident photons. The boundary condition plays a role at later times, when there are many photons leaking out of the boundary.

The approach known as an approximate "extrapolated" boundary condition [16], extrapolates the boundary by a distance  ltr, the extrapolation length, beyond the real boundaries with  at which the photon density vanishes.

To apply this boundary condition for the cumulant solution in a semi-infinite geometry, a. virtual negative source, Sv, is added to the original source, S, as shown in Fig. 3. During the early period, the solution of the RTE in an infinite uniform medium automatically satisfied the boundary condition because the density is near zero at the boundary, and the virtual source does not play a role. After a time of approximately 4 ltr/c, the center of photon density, C, has moved and stopped at a position 1 ltr from the original source S and the center from virtual source, Cv, has moved in a similar way. Then, the arrangement shown in Fig. 3, produces a cancellation of contributions to the photon density from the original source and the virtual source on the extrapolated boundary.

Fig. 4 shows that the time-resolved backscattered photon distribution in a semi-infinite medium on the z = 0 surface, with the source-detector distance 1 ltr, obtained using the second-order cumulant approximation and the extrapolated boundary condition, which agrees with the Monte-Carlo simulation much better than that of the DA.

For extending to the slab geometry, adding a series of pairs of virtual "image" sources at both sides of slab is a good approximation for satisfaction of the extrapolated boundary conditions on both sides of a slab. [17]

The heterogeneous structure of a highly scattering turbid medium can be characterized by the following optical parameters: the scattering rate s(r), the absorption rate a(r), and the differential angular scattering rate s(r)P(s, s′, r).

A perturbation method is used which takes the photon distribution function in a uniform background slab medium as the zero-order approximation.  The change of the photon distribution function originates from the change of optical parameters compared to that in the uniform background slab medium.  The change of scattering and absorption parameters are defined as follows:

s(r) = s(r)  s(0) ,

a(r) = a(r)  a(0) ,                                                                                   (14)

[sP](s, s′, r)  = s(r)P(s, s′, r),   s(0)P(0)(s, s′ ),

where the quantities with super index (0) are the optical parameters in a uniform background slab medium. By expanding [sP](s, s′, r) in Legendre polynomials, we obtain

,              (15)

with a0(r) = 0, since a0 always equals to 1. The physical meaning is that the scattering parameters have no effect on the s (l = 0) component.

Making a perturbation expansion of Eq. (1) to the first-order Born approximation, the change in the photon distribution is given by

,      (16)

where I (rd,sd,t|rs,ss) is the change in the light intensity received by a detector located at rd, along the direction sd, and at time t, which is injected from a source located at rs, along a direction of ss, at time t = 0.  "Change" refers to the difference in intensity compared to that received by the same detector, from the same source, when light passes through a uniform background slab medium. The term I(0) (r2,s2,t|r1,s1) is the intensity of light, calculated using the cumulant solution of RTE, at r2 along the direction s2 and at time t, when light is injected from a position r1 along a direction of s1 at time t = 0 migrating in a uniform background slab medium.

The background Green's functions in Eq. (16), obtained by cumulant solution, are expanded in spherical harmonics:

,

.	               (17)

The spherical transform is performed using a fast Fourier transform for the integral over and a Clenshaw-Curtis quadrature for the integral over 

Using the orthogonality relation of the spherical function and the addition theorem: , the analytical integration over s and s′ in Eq. (16) can be performed. For time resolved data, the contribution from an absorbing object located at rk is given by

(18)

where Vk is the volume of kth voxel, and L is the cut-off value in the Legendre expansion in Eq. (18).  The contribution from a scattering object located at rk is given by

(19)

For Frequency domain (or CW) data, the contribution from an absorbing object located at rk is given by

,             (20)

and the contribution from a scattering object located at rk is given by

(21)

Comparing Eqs. (18)—(21) with the corresponding weight function commonly used in the diffusion approximation, [1,2] only s wave (l=0) for absorptive objects, and only p wave (l=1) for scattering objects are considered in the diffusion forward models. Besides, even for s wave and p wave, the diffusive solution is incorrect when voxels are located near the source, as discussed before.

Above formulae allow simulating the background Green’s function and the change of optical parameters in detail. They are also applicable to the cases where only a few parameters of the medium are known, similar to that for the diffusion forward model. When only s(0), a(0), and g-factor for an uniform background medium are given, the Henyey-Greenstein phase function [18] is widely adopted as an approximate phase function:

.                             (22)

Although Eq. (22) uses a single parameter, g-factor, to describe a phase function, this description is much better than that used in the DA, which implies a phase function linear in cos.

If al (r) in Eq. (21), which represent the change of the phase function, is not considered, two optical parameters being imaged are a(r) and s(r). The reduced scattering coefficient s(1a1(0)/3) is directly related to D (change of the diffusion coefficient) used in the DA models. The CFM, hence, can be applied to the experimental data in a similar fashion as that for the DA models, to obtain images of the optical parameters. In the CFM, however, all contributions from higher spherical waves are properly included.

The most time consuming part in computation of CFM using the above formulae is to build a database of Alm and C*lm. Once it is built for a uniform background medium, the database can be applied for imaging of various heterogeneity cases. In parallel geometry, Alm is a function of (xkxs, ykys) due to the 2D translation invariance. Since position of source zs and incident direction ss are fixed, only a 3D (xkxs, ykys, zk) database is required. When ss is taken along z direction (light is injected perpendicular to surface), the scale of database is reduced to 2D due to the z axis symmetry. Photons from different directions in a wide solid angle are received by a detector, as discussed before, photon density N(rd r, s, t) is used for computing the Green’s function associated with detectors, which is independent of sd , and C*lm can be computed much easily. The database can be built in a reasonable computation time because the distribution function I(0) (r2,s2,t|r1,s1) can be rapidly calculated using the analytical expressions.

4. Fast 3D hybrid dual Fourier (HDF) inverse algorithm

We now outline an inverse algorithm to quickly reconstruct image of a medium from acquired measurements using the above CFM. The above model, neglecting the irrelevant parameters, can be briefly written as

,                                  (23)

where is the position of a voxel inside turbid medium;  is (x, y) coordinates; is the position of a source; and  is the position of a detector. In Eq. (23), is the measured change in light intensity received by a detector at  from a point source at .  is the change of the optical parameters inside turbid medium. The weight function  is a function of  and  on (x, y) plane, because of parallel geometry, assuming an infinite sized area, and the 2D translation invariance of the Green’s function in a background homogeneous slab. Here, the special form of the weight function is not relevant; the weight function can be calculated by the CFM or the DA models, using with CW, frequency, or time-resolved data. This approach is general and can also be used for inverse problems of non-optical measurements in parallel geometries.

A light source scans through a 2D array. Transmitted or backscattered light signals emerging from the medium are detected using a 2D array of detectors, such as a CCD camera (or time-gated CCD camera in the time resolved case). Each illumination of the light source provides a set of 2D data on the two-dimensional detector array. For CW or frequency-modulated light source, this arrangement can produce a set of 2Dx2D = 4D data in a relatively short acquisition time, because a CCD camera produces 2D data of the detectors at different positions simultaneously. When time-resolved or modulation at multiple frequencies are applied, a set of 5D data can be acquired. The inverse problems of 3D imaging, hence, are over-determined, which is necessary for obtaining an accurate 3D image.

When the translation invariance is satisfied, the Fourier transform approach is a powerful technique to achieve a fast inversion. In the Fourier space, the convolution of W and X becomes a product of W and X, and the weight matrix W becomes diagonal. Hence, inversion can be performed much faster.  Using this concept in the case of multiple sources and multiple detectors in parallel geometries a dual 2D Fourier transform  is performed on Eq. (23), to obtain

,

which leads to

,                              (24)

where  , , and are change in light intensity, change in optical parameters, and the weight function in the Fourier space respectively.

A similar form of this dual Fourier transform has been derived by Markel and Schotland [13,14] in a frequency-domain diffusion model.

Eq. (24) seems difficult to be used for performing the inverse reconstruction because of the argument mismatch inand (, ) in and . This difficulty occurs because the weight function in Eq. (23) is related to three positions:, , and . To remove this complexity, the following linear hybrid transform is introduced:

.     	                                                                  (25)

This results in HDF formula:

,                                                         (26)

where   , , and   are, respectively, , , and   as functions of .

While Eq. (25) is a relatively simple expression, it is essential to properly realize this hybrid transform in discrete lattices of the Fourier space. A procedure to quickly perform this transform from (qd, qs) coordinates to new (u, v) coordinates, separately, for x and y components, is explained in Fig. 5 using an example of a 6x6 lattice. The maximum value of u is taken as the maximum value of qd or qs, not the maximum value of qd + qs. The periodic property of lattice in the Fourier space is used, for example, (u=2, v=4) =(qd=3, qs=5). This procedure builds a one-to-one correspondence between lattices in the two coordinate systems. Fig. 5 shows that  and  at each node [circle in Fig. 5] in (u, v) coordinates are directly mapped from  and , respectively, at the corresponding node in (qd, qs) coordinates without any algebraic manipulation.

In Eq. (26), a common 2D Fourier argument  appears in , , and .  For each value of , Eq. (26) leads to an over-determined 1D problem for inverse reconstruction: . In order to perform fast inversion, we invert the normal form of the forward model: = [] for each , where [] is a MxM matrix, with M the number of layers in z direction. The original W in Eq. (23) is a matrix with a large dimension. The inverse problem now is simplified to invert many (number of discrete value of ) matrices, each with a small dimension M. The latter problem is much more computationally efficient compared to the original problem of Eq. (23). Once  are obtained for all , a 2D inverse Fourier transform produces, which is the 3D image of optical parameters of the medium. Markel and Schotland use different procedures for inversion. In [13] a Fourier-Laplace inversion is applied, hence, an analytic continuation of measured data to the complex plane is required for the inverse Laplace transform. In [14] an inverse procedure is performed in an argument space, similar to variables here. Since include 2D variables, inversion in space could take longer time than that of inversion in z space.

As discussed before, matrices  and [] for each  can be calculated in advance for a uniform background slab medium. Assuming that a group of experimental data has been acquired, the following steps are taken to produce a 3D image of the medium:

- Obtain “change” of intensities,, by subtracting the intensity for a uniform background medium from the measured intensity;

- Extend the (x, y) area and padding zeros, to overcome the wraparound problem in discrete convolutions; [19]

- Perform a dual 2D fast Fourier transform (FFT) of  in the extended area to produce;

- Determine  for each , using a mapping procedure explained in Fig. 5;

- Invert = [] for each , which is an inverse problem involving a MxM matrix, with M the number of layers along z direction. Proper regularization according to noise level needs to be taken into account. Regularization will be discussed later in the paper; and

- Finally, perform an inverse 2D FFT on to produce.

Our computational experiments show it takes only 1-2 minutes on a personal computer to perform an inverse reconstruction of a 3D image of a medium with a large number of voxels (for example, 32x32x20 voxels) using this HDF algorithm.

To demonstrate our concept of HDF tomography in 3D image reconstruction, an example using simulated CW data is presented. A slab turbid medium, with a transport mean free path ltr = 1 mm, absorption length la = 300 mm, and thickness zd = 40 mm, is divided into 20 layers. A CW light source, injected perpendicular to the zs = 0 plane, scans by a 2D 32X32 array on the plane, with each pixel 3mmx3mm. A 2D array of detectors with the same spacing is located at zd plane (transmission geometry). The medium, is divided into 32x32x20 voxels, each of dimension 3x3x2 mm3. Two absorbing objects are located in the medium, each with a volume 3x3x2 mm3. The first one located at (10, 10, 10) has an absorption difference of a = 0.01 mm1 with the background. The second one is located at (20, 20, 15) with an absorption difference of0.007 mm1. The simulated data with noise level of 5% are obtained using the CFM. The tomographic images are shown in Fig. 6. As shown, the central positions of 3D image of the objects are correct, located at a voxel (10, 10, 10) with red color, and a voxel (20, 20, 15) with yellow color. The resolution of image is about ~ 6 mm in the transverse (x, y) plane and ~ 10 mm along z direction. In general, the axial resolution (along z direction) is poorer than the lateral resolution [on the (x, y) plane]. In transmission geometry, two Green’s functions in the weight function compensate each other when the z position of the object changes, that leads to a poor sensitivity of the measured photon intensity to the z position of the object. The shapes of 3D image of two objects are ellipsoids with longer axis along z direction. The absorption difference has the maximum value at the center of ellipsoid, and decays gradually with increase distance from the center.

A cut-off in discrete lattices of  and naturally introduces a kind of regularization. This regularization is very effective. Initial tests show that even adding 30% of fluctuations on simulated data of , an image similar to that shown in Fig. 6 is still reconstructed. The reason for this is that noises come from fluctuations at different source and detector positions, which are mainly the high frequency components of and. A cut-off inandnaturally eliminates these high frequency noises, such that a stable image, especially in (x, y) plane, can be reconstructed in a strong noise level.

However, the inverse problem is still ill-posed, because contribution to the change of intensity from a small voxel deeply inside medium is weak, and is not sensitive to its z position in transmission case. A regularization procedure on inversion of = []is still needed. The standard Tikhonov regularization approach [20] is applied and L-curve [21,22] method is used for determining the best regularization parameters.

This fast inverse algorithm produces a 3D image in a linear image regime. For nonlinear image reconstruction procedure, the reconstructed 3D image provides a good initial profile for further refining the 3D image taking the nonlinear effects into consideration.

The HDF inversion method can be extended to a cylindrical geometry, with an arbitrary shape of the (x, y) cross section, for 3D image reconstruction. In this geometry, an algorithm using a single Fourier inversion has been developed.[23] This algorithm is limited to the case that the sources and the detectors are located on a plane with same z coordinates. The hybrid-dual-Fourier inverse approach in cylindrical geometry removes this restriction, so more data can be acquired for 3D tomography.  The linear forward model in cylindrical geometry is given by

,                                   (27)

where  is the weight function, a function of   zd z and zs z due to the 1D translation invariance of the Green’s function in a homogeneous background medium in cylindrical geometry (assuming infinite z length). We make a dual 1D (along z direction) Fourier transform  on Eq. (27) to obtain

,                                (28)

where  , , and are the Fourier space quantities corresponding that in Eq. (27).

The (1D) linear hybrid coordinate transforms, u = qd + qs, and v = qd qs, for Eq. (28) leads to:

,                                                             (29)

where   , , and   are, respectively, , , and   as functions of . For each value of u, Eq. (29) is an over determined 2D problem for inverse reconstruction, namely, to determine a 2D unknown value of  from known 3D data of  for each u. This 3D-2D determination enhances the accuracy of 3D image compared to 2D-2D determination in the single-Fourier transform inversion. After  are obtained for all u, a 1D inverse Fourier transform produces the image.

- Discussion

As shown in Eqs. (19) and (21), there is no contribution from s wave to the weight function for a scattering object. This result reflects a fact that no scattering effect exists for an isotropic angular distribution. In the regions far from sources, the weight function contributed from scattering objects is small because there is no contribution from the dominant s wave, as shown in many results based on the diffusion models.[1-5] This non-sensitivity of signals to the scattering objects deep inside the medium should be considered in optical tomography. A pure isotropic distribution is never achieved, otherwise, there will be no flux in any directions. In the diffusive model, a small p wave,, exists which maintains the photons diffusing to the regions with fewer photons. The factor  represents this effect. However, this expression is valid only in the regions where the p wave is much smaller than s wave, (1/4)N, and does not correctly describe the early photon propagation near sources. Since only the weight function for scattering objects close to sources plays an important role, but it was estimated using the formula valid in regions far from sources, substantial error introduced in the diffusion forward model for scattering objects is crucial.

For the weight function of absorbing objects, contributions from all spherical components, including s wave, are given in Eqs. (18) and (20). In commonly used diffusion formula the contribution from p wave was neglected. The diffusion coefficient originally derived in the DA is, that leads to . The contribution from p wave to the weight function for absorbing objects, hence, should exist. But in the later diffusion models ΔD is assigned only for scattering objects and only s wave for absorbing objects is taken. Eqs. (18) and (20) provide a quantitative estimation of weight function for absorbing objects in  regions close to the source, as well as far from the source..

The CFM and the HDF inverse algorithm need further improvements in the following aspects. Further improvement should be considered without significantly increasing complexity in computation. First, the second cumulant solution is not accurate in the detailed shape of the distribution, especially, the front edge in the Gaussian distribution violates causality. An empirical distribution, which keeps the exact value of the first and second cumulants, while satisfies the causality, can be designed to replace the Gaussian distribution.

Second, the boundary condition is approximate. When a more accurate distribution I(r, s, t) at early time is needed, the boundary condition for a semi-infinite geometry should be

,           if .                   	(30)

This type of the boundary condition was studied by Domke [24] for the steady state case. The solution is represented as a superposition of a solution describing a transport problem in an infinite medium, and a Fredholm integral term, which corrects this solution for the appropriate half-space boundary condition. This approach may be used for further development of the boundary problem.

Third, to consider the nonlinear effects, I(0)’s in Eq. (16) should be replaced by the Green’s function in a real heterogeneous medium. Among the high-order perturbative corrections of the Green’s function, the “self-energy” diagram, which counts photon round trips through a position up to infinite times, plays an important role. Gandjbakhche et al [25] studied this effect using a random walk model. We find that a renormalization procedure for this nonlinear effect can be performed after image is obtained using a linear inversion process. This renormalization procedure can recover the optimal value of the optical parameters and can improve the resolution of image. The detailed results of the renormalization will be published elsewhere.

The translation invariance is valid for the parallel geometry assuming that the (x, y) area is infinite. We suppose that this assumption of the infinite area is reasonable. How much error arises due to the finite area of a sample will be studied in details.

Use of the simulated data mainly tests the validity of the inverse algorithm, does not test accuracy of the forward model. Experimental data from phantoms and in vivo measurements in human body will be performed for further testing of our approach.

In summary, we have developed a linear forward model of light propagation in a turbid medium based on an analytical cumulant solution of the radiative transfer equation for 3D optical tomography. The model can be used for CW, frequency-domain, and time-resolved measurements in parallel geometries. This forward model is more accurate than the forward model based on the diffusion approximation of RTE. An inverse algorithm is developed, based on a fast 3D hybrid-dual-Fourier tomographic approach using multiple detectors and multiple sources in parallel geometries. This inverse algorithm is computationally efficient and is suitable for clinical applications, such as beast cancer detection.

Acknowledgments

We are grateful to S. K. Gayen for careful reading this manuscript and useful discussion.  This work was supported in part by the U.S. Department of the Army (grant DAMD17-02-1-0516). The US Army Medical Research Acquisition Activity, 820 Chandler Street, Fort Detrick, Maryland 21702-5014 is the awarding and administering acquisition office. Additional support is given by the US Army Medical Research and Materiels Command (Grant DAMD17-98-1-8147), NASA, and NYSTAR.

References

[1] A. G. Yodh, B. Tromberg, E. Sevick-Muraca, D. Pine, ed. “Diffusion photons in turbid media”, a special issue of   J. Opt. Soc. A. A vol. 14, 136 (1997).

[2] S. R. Arridge, “Optical tomography in medical imaging”, Inverse Problems, vol 15, 41 (1999).

[3] N. Iftimia, H. Jiang, “Quantitative optical image reconstruction of turbid media using dc measurements”,  Appl. Opt. Vol 39, 5256 (2000).

[4] B. W. Pogue, S. P. Poplack, T. O. McBride, W. A. Wells, O.K.S., U. L. Osterberg, K. D. Paulsen, “Quantitative Hemoglobin Tomography with Diffuse Near Infrared Spectroscopy: Pilot Results in the breast”, Radiology,  Vol  218, 261(2001).

[5] J. C. Hebden, H. Veenstra, H. Dehghani, E. M. C. Hillman, M. Schweiger, S. R. Arridge, D. T. Delpy, “Three dimensional time-resolved optical tomography of a conical breast phantom” Appl. Opt. Vol. 40 3278 (2001).

[6] H. Hielscher, R. E. Alcouffe, B. L. Barbour, “Comparison of finite-difference transport and diffusion calculation for photon migration in homogeneous and heterogeneous tissues”, Phys. Med. Biol. Vol 43, 1285 (1998).

[7] T. Vilhunen, M. Vanhkonen, V. Kolehmainen, J. P. Kaipio, “ Linking the radiative transfer equation and the diffusion approximation”, Digest of OSA Biomedical Topical Meeting, 12 (2002).

[8] W. Cai, M. Lax, R. R. Alfano, “Cumulant solution of the elastic Boltzmann transport equation in an infinite uniform medium”, Phys. Rev. E. Vol. 61 3871 (2000).

[9] W. Cai, M. Lax, R. R. Alfano, "Analytical solution of the elastic Boltzmann transport Equation in an infinite uniform medium using cumulant expansion", J. Phys. Chem. Vol B104, 3996 (2000).

[10] C. L. Matson, N. Clark, L. McMackin, J. S. Fender, “Three-dimensional tumor localization in thick tissue with the use of diffuse photon-density waves”,  Appl. Opt. Vol. 36, 214 (1997).

[11] X. D. Li, T. Durduran, A. G. Yodh, B. Chance, D. N. Pattanayak, “Diffraction tomography for biochemical imaging with diffuse-photon density waves”, Opt. Lett. Vol. 22, 573 (1997).

[12] J. C. Schotland, V. A. Markel, ”Inverse scattering with diffusing wave”, J. Opt. Soc. Am. A Vol. 18, 2767 (2001).

[13] V. A. Markel, J. C. Schotland, “Inverse problem in optical diffusion tomography. I Fourier-Laplace inversion formulas”,  J. Opt. Soc. Am. A  Vol. 18, 1336 (2001).

[14] V. A. Markel, J. C. Schotland, “Inverse scattering for the diffusion equation with general boundary conditions”, Phys. Rev. E Vol. 64, 035601 (2001).

[15] M. E. Zevallos, A. Ya Polischuck, B. B. Das, F. Liu, R. R. Alfano, “Time-resolved photon-scattering measurements from scattering media fitted to non-euclidean and conventional diffusion models”, Phys. Rev. E  Vol. 57, 7244 (1998).

[16] M. S. Patterson, B. Chance, B. C. Wilson, “Time-resolved reflectance and transmittance for the non-invasive measurement of tissue optical properties”, Appl. Opt. Vol. 28, 2331 (1989).

[17] M. Xu, W. Cai, M. Lax, R. R. Alfano,”Photon migration in turbid media using a cumulant approximation to radiative transfer”, Phys. Rev. E . Vol. 65, 066609 (2002).

[18] L.G. Henyey, J. L. Greenstein, “Diffuse radiation in the galaxy”, Astrophys. J. Vol. 93, 70 (1941).

[19] W. H. Press, B. P. Flannery, S. A. Teukolsky, W. T. Vetterling, Numerical Recipes, Cambridge University Press, P407 (1986).

[20] A. N. Tikhonov, A. V. Groncharsky, eds., Ill-posed problems in the natural sciences,   MIR, Moscow, (1987).

[21] P. Hansen, D. O’Leavy, “The use of the L-curve in the regularization of discret ill-posed problems”, SIAM J. Sci. Comput. Vol. 14, 1487(1993).

[22] W. Cai, S. K. Gayen, M. Xu, M. Zevallos, M. Alrubaiee, M. Lax, and R. R. Alfano, “Optical tomographic image reconstruction from ultrafast time-sliced transmission measurements”, Appl. Opt. Vol. 38, 4237 (1999).

[23] W. Cai, B. B. Das, F. Liu, F. A. Zeng, M. Lax, R. R. Alfano, “Three dimensional image reconstruction in highly scattering turbid media”, Proc. SPIE 2979, 241 (1997).

[24] H. Domke, “Reduction of Radiative Transfer Problems in Semi-infinite Media to Linear Fredholm Integral Equations”, J. Quant. Spectrosc. Radiat. Transfer. Vol. 16,  973 (1976).

[25] A. H. Gandjbakhche, R. F.  Bonner, R. Nossal, and G. H. Weiss, “Absorptivity contrast in transillumination imaging of tissue abnormalities” Appl. Opt. Vol. 35, 1767 (1996).

Figure Captions

Fig. 1 Distribution function I(r, s, t) in an infinite uniform scattering medium as a function of time t, using Henyey-Greenstein phase function with g = 0.9. The detector is located at R = 6ltr = 60 ls from the source front along direction of incident light, and the direction is along the incident direction. The solid curve is computed from approximation up to 10th order of cumulant; the dotted curve is computed from approximation up to the second order of cumulant, the discrete red dots are from the Monte Carlo simulation; the curve of thick dots is from the diffusion approximation (DA), N(r, t)/4

Fig. 2  The light distribution in an infinite uniform medium as a function of time at different received angle, using second cumulant solution of radiative transfer equation, where detector is located, separately, at 10 mm (Fig. 2a) and 30 mm (Fig. 2b) from the source in the incident direction. The parameters for this calculation are:  ltr = 2 mm, la = 300 mm, the phase function is computed using Mie theory for polystyrene spheres with diameter d = 1.11 m in water and the wavelength of laser source  = 625 nm, which gives the g-factor g = 0.926.

Fig. 3 A schematic diagram shows how to extend the cumulant solution of RTE from an infinite medium to a semi-infinite medium.

Fig. 4 Backscattered photon distribution I(r, s = z, t) emerging from plane surface of a semi-infinite turbid medium, as a function of time, with the source-detector distance 1 ltr on the surface z = 0 plane. The pulse source is located at z = 0, incident along z direction. The extrapolated boundary condition is used. The solid curve is obtained from cumulant approximation (CA), up to the second cumulant. The dashed curve is from diffusion approximation (DA). The cross points are obtained from Monte Carlo simulation (MC).

Fig. 5	An example of a 6x6 lattice for explaining the linear hybrid transform from (qd, qs)    coordinates to (u, v) coordinates.

Fig. 6. A 3D image reconstructed using hybrid dual Fourier tomography. Two absorbing objects, each with the volume 3x3x2 mm3, are located inside a turbid medium with volume 96x96x40 mm3 divided into 32x32x20 voxels. The first one is located at position labeled (10, 10, 10) with absorption difference a = 0.01 mm1. The second one is located at position labeled  (20, 20, 15) with absorption difference a= 0.007 mm1. A CW light source incident perpendicular to the zs = 0 plane is scanned through a 2D 32X32 array at the plane, with each pixel 3mmx3mm. A same sized 2D array of detectors is located at zd plane (transmission geometry). The simulated data are produced with noise 5%. A linear scale of color bar from the maximum value to minimum value of a is used. The numbers labels the z layers counting form source to the detector, layers are separated by 2 mm.

# Text boxes

## Fig. 1

(b)

## Fig. 2

ltr

ltr

ltr

(1+ltr

C

Z = 0

Z = Zc

+ S

- Sv

Cv

## Fig. 3

## Fig. 4

v=

u=2

1

2

3

4

5

1

2

3

4

5

u=0

u=1

u=3

u=4

u=5

v=0

v=1

v=2

v=3

v=4

v=5

v=1

v=2

v=

v=

qd

qs

## Fig. 5

## Fig. 6

(a)